# ECMO CHECKLIST

- Assign Code Leader RN, Doc Code Leader, Med/Electric RN and Wire Assistant

- Put bump/board under patient’s butt

- Place large sterile drape over legs/groin

- Place arterial (5 French) and venous (9 French) resus lines = Stage I

- Assess whether ECMO candidate

- Prime the Pump

- Measure venous line from percutaneous insertion site to R nipple.

- Insert wires

- Administer Heparin Bolus if using

- Dilate and insert ECMO cannulae (usually 17 French Arterial and 21 French Venous) When placing venous line, once all holes have passed the skin, partially withdraw the internal dilator. Attach stopcock to side port on Arterial Line prior to insertion. = Stage II

- Connect Oxygen Line to Oxygenator at 3-5 lpm

- Perform underwater seal on ECMO Cannulae = Stage III

- Perform final check for any air bubbles especially on arterial side

- Check for any open lines on the patient

- Remove all clamps except one on arterial outflow at the ecmo machine

- Turn RPM to 1500 and slowly release the last clamp

- Slowly increase RPMs on pump

- Assess if flow increases adequately. If not, check for kinks in tubing, clamps on lines, or the need for volume

- Check color of flow—should be red/dark. If red/red think double arterial or venous cannulation. If dark/dark think O2 line not working

- Adjust RPMs to maximize flow. Shoot for 3.5-4.5 L/min of flow

- If unable to achieve this, check position of venous cannulae via radiograph. Consider volume if chattering

- Check Rhythm--if shockable, shock

- Get an ABG (may be post-ox ABG) and hematocrit 2 minutes after initiation. Adjust sweep and give blood appropriately

- Get right arm arterial line. Get an ABG from it. Add vasopressors to optimize MAP

- Obtain 12 lead ECG. Most of the patients should go to cath

- Obtain venous access, usually IJ triple lumen

- Perform echo to assess for aortic valve opening/ventricular contraction. Consider Inotropes

- Figure out final patient destination

# Nurse Code Leader

- Give Epi 1 mg every 5 minutes

- Pre-Announce Rhythm Checks 30 seconds beforehand

- Announce Rhythm Checks

- Shock any rhythm that is shockable, call for a pulse check if the rhythm is perfusable

- Stop any Defibrillation once Stage II Begins unless there is a break in the action. Confirm with cannulators if you think there is space for a shock.

# Doc Code Leader

- Verify or Perform Intubation

- Verify proper chest compressions

- Get history from EMS/Family

- Decide if the patient is an ECMO candidate and inform cannulators

- Call for Heparin Bolus at the initiation of stage II

- Consider causes of arrest and diverge from standard ACLS if reversible cause

- Perform RUSH exam to determine cause of arrest

- Move to ECMO machine and initiate Stage III. Verify O2 line is hooked up. Start pump at 1500 rpm and ramp up slowly. Start sweep at 3 lpm.

# Cannulator 1 and 2

- Perform Stage I – get arterial or venous access

- If Doc Code Leader indicates that the patient is a candidate, progress to Stage II – dilation and cannulae placement

- Decide on cannula size

- If performing venous cannulation, remember to premeasure cannula and pull back dilator before atrial entry

- Either instruct your assistant on wire-racking or make sure that you rack the wire with any resistance during dilation/cannula placement

# Assistant 1 and 2

- Anticipate the needs of the cannulator for equipment/dilators/scalpel etc.

- If asked by cannulator, perform continuous wire racking with one hand on the dilator/cannula and the other on the wire

- Remind cannulator regarding measurement of venous cannula and withdrawal of venous dilator

- Use syringe to allow underwater seal of ECMO cannulae during Stage III

# Med/Electric Nurse

- Charge defib when Nurse Leader preannounces rhythm checks

- Shock if nurse leader indicates

- Verify or Obtain IV or IO Access

- Administer the meds called for by Nurse Leader